# APPLICATION FOR PRODUCT APPROVAL

# Secondary Treatment Systems (STS)

Please attach this application form to your submission and post to (or alternatively email to wwapps@health.wa.gov.au):

The Manager

Water Unit

Environmental Health Directorate

Department of Health

PO Box 8172

Perth Business Centre WA 6849

## APPLICATION DETAILS

NAME OF SECONDARY TREATMENT SYSTEM FOR APPROVAL

____________________________________________________________________

MODEL NUMBER FOR APPROVAL

____________________________________________________________________

BRIEF DESCRIPTION OF TREATMENT PROCESS:

____________________________________________________________________

DISINFECTION SYSTEM

 Chlorine		 Bromine			 Ozone		 UV

 Other (please specify)___________________________________________________

____________________________________________________________________

IRRIGATION SYSTEM

 Spray	 Dripper (Sub-surface)	 Dripper (Sub-Strata)	 Leach Drain

 Other (please specify)__________________________________________________

____________________________________________________________________

APPLICANT DETAILS

Company Name:_______________________________________________________

Applicant Name: __________________________Contact: _____________________

Address: _____________________________________________________________

____________________________________________________________________

Phone: ___________________________________ Fax: _______________________

Email: ____________________________________ Mob No.: __________________

MANUFACTURER'S DETAILS

(if different from the applicant)

Company Name:_______________________________________________________

Name: _______________________________Contact: ________________________

Address: _____________________________________________________________

____________________________________________________________________

Phone: ___________________________________ Fax: _______________________

Email: ____________________________________ Mob No.: __________________

DISTRIBUTOR'S DETAILS

(if different from the applicant and/or manufacturer)

Company Name:_______________________________________________________

Name: ______________________________Contact: _________________________

Address: ____________________________________________________________

____________________________________________________________________

Phone: ___________________________________ Fax: _______________________

Email: ____________________________________ Mob No.: __________________

APPLICATION REQUIREMENTS

IMPORTANT: PLEASE ATTACH THE FOLLOWING INFORMATION:

- Concept report explaining operation of STS and its major components, including:

  - A schematic diagram of the treatment process.

  - Calculations used to size system components.

  - Effluent quality.

  - How the treated effluent from the system will be managed.

  - An assessment of potential risks associated with the system and how they will be managed.

- Drawings of the system, including:

- Scaled A4 engineering drawings of the system showing all components including (where relevant) motors, compressors, pumps, valves, diffusers, venturi, media, disinfection unit, pipes, scum and sludge collectors, baffles, float switches, control panel and alarms. The drawings should be accompanied by a list of components which includes name, description, function, model, dimensions, material and location in the system.

- An A4 installation plan for the system, suitable for attachment to an application for a council septic tank permit.

- An A4 schematic diagram for inclusion on the public domain DOH certificate of approval, including the manufacturer’s name and model number. As electronic copy (pdf format) is sufficient.

- Verification of the Performance of the System and Quality Control including:

  - Attach a report from an independent certification agency describing the system’s compliance with the design, installation, performance and management criteria in the following documents:

    - Australian Standard AS 1547:2012 Onsite Domestic Wastewater Management

    - Australian Standard AS 1546:3 2017 Onsite domestic wastewater treatment units – Part 3: Secondary treatment systems

    - Where applicable, Department of Health (DOH) “Code of Practice for the Design, Manufacture, Installation and Operation of Aerobic Treatment Units (ATUs) Serving Single Dwellings 2015”

  - Attach documentation demonstrating that the independent certification agency has been accredited under the Joint Accreditation System of Australia and New Zealand or an equivalent independent quality certification process.

  - Provide copies of relevant laboratory analytical reports endorsed by the National Association of Testing Authorities (NATA).

  - Attach evidence that the system has obtained Product Approval under the StandardsMark Quality Assurance Program or equivalent. If manufacture of the system has not commenced, the applicant must provide evidence that the system has been submitted for assessment under a quality assurance scheme.

- Details of any testing undertaken to show nutrient levels in final effluent.  (Only if approval is sought for the STS as a nutrient attenuation system)

- Details of any relevant certifications showing compliance of any parts of the STS (such as tanks) with relevant Australian Standards (or equivalent).

- Details of the Operation and Maintenance of the System including copies of the following:

- Installation Manual

- Householder Operating Manual

- Servicing Manual, including Service Report Sheet

- Warranty and System Service Life

- Details of the disposal system including full details (plans and specifications) of the disposal system. This includes, where applicable, details of the irrigation system showing compliance with the Department of Health (DOH) “Code of Practice for the Design, Manufacture, Installation and Operation of Aerobic Treatment Units (ATUs) Serving Single Dwellings 2015”.  If dripper irrigation is to be utilized a completed copy of “Schedule No.1 –Technical Information” (Dripper Specifications) from Part 2 of the Code.

- A copy of the 3 monthly (or equivalent) maintenance report form.

- Details of local Agents for the Sale, Installation and Maintenance of the STS.

Note: Please note that all STS with a capacity up to 5000L/day are required to be certified to AS1546.3:2017. This includes:

- Any new STSs without current certification; and

- Existing Aerated Wastewater Treatment Systems with current certification to AS 1546.3:2008 by the current certification expiry date.

Onsite wastewater treatment systems with capacities exceeding 5000L/day require engineering certification to accompany each application to install the system. It is recommended to submit engineering certification for each system model so that the documentation is on the DoH records for any future applications. The Department’s engineering certification requirements for wastewater treatment systems can be found here.

Please fill in the following declaration after reading the "Application Requirements" section above.

DECLARATION BY APPLICANT / MANUFACTURER

I understand that the DOH may require further details if necessary, and that failure to supply all the details referred to in this application form and any additional information requested by the DOH concerning my application above may result in delays in processing the application.

NAME: ______________________________________________________________

COMPANY: __________________________________________________________

ADDRESS: __________________________________________________________

____________________________________________________________________

SIGNATURE: __________________________________ DATE: ________________

## More Information:

Water Unit
Environmental Health Directorate
Department of Health
PO Box 8172
PERTH BUSINESS CENTRE WA 6849

Telephone: 08 9222 2000
Email: EHD.CustomerService@health.wa.gov.au

Printed on: 31 July 2026

/tmp/in/input.doc

Produced by Environmental Health Directorate
© Department of Health, Western Australia 2026